## Slide 1
2nd Round of ML applied to HiRES:
Energy Stability
ANTONIO GILARDI
09/12/2021

## Slide 2
Laser question
Data Structure:
- FileName
- FileName.ucam1
- FileName.rf
- FileName.ucam1.dat
- FileName.rf.dat
- FileName.ucam1.dat.post
- FileName.rf.dat.post
Loss-Less
- FileName.rf.dat
In-loop Magnitude
In-loop Phase,
OOL Magnitude,
OOL Phase,
Laser Amplitude,
Laser Phase
>> x_cav_main = x[:,0]
>> x_cavp_main = x[:,1]
>> x_cav_aux = x[:,2]
>> x_cavp_aux = x[:,3]
>> x_egain_main = x_cav_main*np.cos(x_cavp_main*np.pi/180.0)
>> x_egain_aux = x_cav_aux*np.cos((x_cavp_aux+79.0)*np.pi/180.0)
- FileName.rf.dat.post
win = int(100e-6/ dt) <<
win_start = int(580e-6 / dt) <<
wsp = 4 <<
dt = wsp*22/(102.14e6) <<
x_laser_amp = x[:,4] # 4 - Laser AMP <<
x_laser_phs = x[:,5] # 5 - Laser PHS <<
x_laser_amp_avg = np.mean(x_laser_amp[:,win_start:win_start+win], axis=1) <<
x_laser_phs_avg = np.mean(x_laser_phs[:,win_start:win_start+win], axis=1) <<
x_laser_amp_ac = (x_laser_amp_avg-np.mean(x_laser_amp_avg))/np.mean(x_laser_amp_avg) <<
x_laser_phs_ac = (x_laser_phs_avg-np.mean(x_laser_phs_avg))/np.mean(x_laser_phs_avg) <<

## Slide 3
Camera Processing
>> pX = x / np.sum(x)
>> CentroidProjection[i] = np.sum( x * pX)
X  Projected image

## Slide 4
Dataset used
- Open loop capture:
- 20m0s capture: OK (sync_acq_wsp4_5ch_1hz_ucam1_lcam1_long)
- Buncher off
- 7818 / 3x2 = 1303 RF buffers
- 1303 ucam buffers
- Close loop capture:
- 20m0s capture: OK (sync_acq_wsp4_5ch_1hz_ucam1_lcam1_cloop_long)
- Buncher off
- 7818 / 6 = 1303 RF buffers
- 1303 ucam buffers
>> camFit = np.load("data/"+InOrOut+"/CameraFit.npy")
>> camProj = np.load("data/"+InOrOut+"/CameraProj.npy")
>> OL_phs = np.load("data/"+InOrOut+"/OL_Phase.npy")
>> OL_amp = np.load("data/"+InOrOut+"/OL_Magnitude.npy")
>> ILmOL_phs = np.load("data/"+InOrOut+"/OL_Phase.npy") - np.load("data/"+InOrOut+"/IL_Phase.npy")
>> ILmOL_amp = np.load("data/"+InOrOut+"/OL_Magnitude.npy") - np.load("data/"+InOrOut+"/IL_Magnitude.npy")
>> laser_Phs = np.load("data/"+InOrOut+"/Laser_Phs.npy")
>>laser_amp = np.load("data/"+InOrOut+"/Laser_Amp.npy")

## Slide 5
Feature selection
OUT OF LOOP -----------> No feedback stabilization

## Slide 6
Feature selection
OUT OF LOOP -----------> No feedback stabilization
Stronger correlation with t+2
To be surely considered are:
  RF amp
  RF phs
  Laser amp

## Slide 7
Feature selection
IN LOOP -----------> Feedback stabilization

## Slide 8
Feature selection
IN LOOP -----------> Feedback stabilization

## Slide 9
Results
OUT OF LOOP -----------> No feedback stabilization

## Slide 10
Results
OUT OF LOOP -----------> No feedback stabilization

## Slide 11
Results
IN LOOP -----------> Feedback stabilization

## Slide 12
Results
IN LOOP -----------> Feedback stabilization

## Slide 13
Conclusion & Next Steps
- Cross validation the dataset:
300
Training
Test
100
300
Training
Test
100
300
Training
Test
100
1000
Training
Test
300
Currently: