## Slide 1
2nd Round of ML applied to HiRES:
Energy Stability
ANTONIO GILARDI
09/12/2021

## Slide 2
Laser question
Data Structure:
- FileName
- FileName.ucam1
- FileName.rf
- FileName.ucam1.dat
- FileName.rf.dat
- FileName.ucam1.dat.post
- FileName.rf.dat.post
Loss-Less
- FileName.rf.dat
In-loop Magnitude
In-loop Phase,
OOL Magnitude,
OOL Phase,
Laser Amplitude,
Laser Phase
>> x_cav_main = x[:,0]
>> x_cavp_main = x[:,1]
>> x_cav_aux = x[:,2]
>> x_cavp_aux = x[:,3]
>> x_egain_main = x_cav_main*np.cos(x_cavp_main*np.pi/180.0)
>> x_egain_aux = x_cav_aux*np.cos((x_cavp_aux+79.0)*np.pi/180.0)
- FileName.rf.dat.post
win = int(100e-6/ dt) <<
win_start = int(580e-6 / dt) <<
wsp = 4 <<
dt = wsp*22/(102.14e6) <<
x_laser_phs = x[:,5] <<
x_laser_phs_avg = np.mean(x_laser_phs[:,win_start:win_start+win], axis=1) <<
x_laser_phs_ac = (x_laser_phs_avg-np.mean(x_laser_phs_avg))/np.mean(x_laser_phs_avg) <<
Original code:
Added code:

## Slide 3
Camera Processing
X  Projected image
>> pX = x / np.sum(x)
>> CentroidProjection[i] = np.sum( x * pX)
x is the beam image along the x axis
In the following the fit information was used.

## Slide 4
Dataset used
- Open loop capture:
- 20m0s capture: OK (sync_acq_wsp4_5ch_1hz_ucam1_lcam1_long)
- Buncher off
- 7818 / 3x2 = 1303 RF buffers
- 1303 ucam buffers
>> camFit = np.load("data/"+InOrOut+"/CameraFit.npy")
>> camProj = np.load("data/"+InOrOut+"/CameraProj.npy")
>> OL_phs = np.load("data/"+InOrOut+"/OL_Phase.npy")
>> OL_amp = np.load("data/"+InOrOut+"/OL_Magnitude.npy")
>> ILmOL_phs = np.load("data/"+InOrOut+"/OL_Phase.npy") - np.load("data/"+InOrOut+"/IL_Phase.npy")
>> ILmOL_amp = np.load("data/"+InOrOut+"/OL_Magnitude.npy") - np.load("data/"+InOrOut+"/IL_Magnitude.npy")
>> laser_Phs = np.load("data/"+InOrOut+"/Laser_Phs.npy")
>>laser_amp = np.load("data/"+InOrOut+"/Laser_Amp.npy")
- Close loop capture:
- 20m0s capture: OK (sync_acq_wsp4_5ch_1hz_ucam1_lcam1_cloop_long)
- Buncher off
- 7818 / 6 = 1303 RF buffers
- 1303 ucam buffers

## Slide 5
OUT OF LOOP -----------> No feedback stabilization
Feature selection

## Slide 6
IN LOOP -----------> Feedback stabilization
Feature selection

## Slide 7
Feature selection
OUT OF LOOP -----------> No feedback stabilization
IN LOOP -----------> Feedback stabilization

## Slide 8
Best ML approach
Compared:
3 Normalization methods: "None", "minmax", and "zscore”;
3 Past history: 15, 60, and 120;
2 Learning ate: 0.001 and 0.01.
Constant:
batch_size: 32;
epochs: 20;
max_steps_per_epoch: 10000.
ML Approaches:
MLP [32, 16, 8]
LSTM
  layers: 1 and 2
CNN [16, 3, 2]
RF
  max_depth: 2 and 6;
  min_samples_split: 2 and 6;
  min_samples_leaf: 3 and 7.
LR
General parameters:
Metrics = | Real(CentroidError) - Predicted(CentroidError) |

## Slide 9
Results
IN LOOP -----------> Feedback stabilization
OUT OF LOOP -----------> No feedback stabilization

## Slide 10
Conclusion
- Cross validation the dataset:
300
Training
Test
100
300
Training
Test
100
300
Training
Test
100
1000
Training
Test
300
Currently:
Next Steps
Not much difference in terms of results using the time shift or not
Not much difference using only the parameters with highest correlations (RF Phs, RF AMP, Laser Amp, PhaseDifference)
When working in close loop the correlations tend to zero (probably the reason of the really bad performance). However some interesting information can be obtained from the previous centroid.
We have to decide/identify a way to assess the centroid better
Decide if apply or not the time shift
Try Cross validation: